Specifications Page

| Product | Cool-stack I | Cool-stack I HO |
| --- | --- | --- |
| Fans | 4/80mm | 4/80mm |
| Airflow (free air, lo/hi speed) | 40 CFM | 55 CFM |
| Noise level | 21 dBA | 23 dBA |
| Power consumption | 7 watts | 10 watts |
| Control | Thermal control, on at 90°F | Thermal control, on at 90°F |
| Dimensions | 1.75”h x 19”w x 8”d | 1.75”h x 19”w x 8”d |
| Dimensions, metric | 45mm h x 480 w x 200 mm deep | 45mm h x 480mm w x 200 mm deep |
| Weight, boxed (lbs/kgm) | 8/3.7 | 8/3.7 |
| ATM part number | 00-301-03 (Exhaust version) 00-302-02 (Intake version) | 00-301-03 HO (Exhaust version) 00-302-02 HO (Intake version) |

Wood species: Red Oak (RO), White Oak (WO) Maple (MA), Cherry (CH), Q-sawn White Oak (QO),

White Pine (WP), So. Yellow Pine (YP), Black Walnut (BW), Ash (AS), Poplar (PO), White Birch (WB),

Red Birch (RB), Phil. Mahogany (PM), Sassafras (SA), Cypress (CY), Beech (BE), Cedar (CE), Bamboo

(BA), Purple Heart (PH), Jajoba (JA), Ant. Heart Pine (AP), Hond. Mahogany (HM), Hickory (HI), VG

Fir (VG), Redwood (RW), Teak (TE), and Alder (AL).